## Slide 1: FT Scenario 5
Swap Data Acquisition Unit
Example 1

## Slide 2: Cost, Value, and Risk
 | COST | VALUE | RISK
Option A: Use TTC DAU spare | DAU: $0 (Purchase cost $50k) Spare DAU available on hand | 100% Configuration and hardware identical to current | Level: 4 Likelihood of later programs requiring spares is high and stock is limited
Option B: Order new TTC DAU | DAU: $50k Additional time cost for delivery | 100% Configuration and hardware identical to current | Level: 1 Same hardware
Option C: Use Vendor B DAU | DAU: $0 (Purchase cost $15k) Spare DAU is available on hand | 90% Vendor B samples faster but with less resolution Overall lower throughput | Level: 2 New hardware to adapt to, but large stockpile of spares